## Slide 1: Bio 296: Microbial Bioinformatics Routine diagnostics and NGS
Tim Roloff

## Slide 2: Genotypic axis of diagnostic
8h – 4 weeks
Sample
Culture1
Few minutes
1 Hinic V, Amrein I, … et Egli A J Micro Met 2017; 2 Dierig A, Frei R, Egli A, Ped Infect Dis J 2015 3 Egli A et al. Transpl Infect Dis 2015; 4 Osthoff M, … et Egli, A. Clin Microbiol Infect 2017; 5 Weis C, … Egli A, Borgwardt K, Bioinformatics 2020; 6 Egli A, Schmid H, et al. Clin Microbiol Infect 2017; 7 Hinic V, Reist J, Egli A J Microbiol Met 2018
Metagenomic6
Whole Genome Sequencing7-9
Amplicon (16S/ITS)
DNA extraction
Shotgun
5-10 days
Library & sequencing
DNA extraction
Bioinformatics & Report
Illumina
Nanopore
Short read
Long read
PCR1-5
<6h
7-10 days
PCR1-5
Two sequencing techniques

## Slide 3: Samples from various customers
Customers sending us samples for NGS include
Hospitals (Outbreak investigations, resistance mechanisms)
Reference labs (typing)
Authorities (surveillance, quality management)
Food companies (typing, outbreak investigations)
Pharma companies (strain characterization)
Research groups (various questions)

## Slide 4: Standardized workflow in the lab
Standardization is very important for diagnostic workflows
Results can have a big impact for customer/patient
Workflow for typing and detection of resistance gene accredited according to ISO/IEC 17025
Standard operating procedures (SOPs) for every step
Internal quality controls (PhiX, QC strains)
External quality controls (ring trials)
  Samples sent to different laboratories and results compared
Audits

## Slide 5: NGS in medical microbiology routine diagnostics
Analyze the genome of a pathogen or bacterial community to study
  Identity (species)
  Resistance genes and virulence factors
  Relationship between isolates
  Replace outdated diagnostics
NGS offers many more possibilites that are not (yet) used in diagnostics
https://www.technologynetworks.com/genomics/articles/an-overview-of-next-generation-sequencing-346532

## Slide 6: Sample flow for WGS of isolates
Sequencing of cultured isolates:
96 samples / 5 - 7 days
1 day fast track (being discussed)
Long diagnostic workflow
Current challenges:
TAT is too slow to have an impact
high costs
1-2 days
1-2 days
5h -1day
1day

## Slide 7: Sample flow for WGS of isolates
Sequencing of cultured isolates:
96 samples / 5 - 7 days
2 days fast track (being set up)
Long diagnostic workflow
Current challenges:
TAT is too slow to have an impact
high costs
Steps where we can save time and money
1-2 days
1-2 days
5h -1day
1day

## Slide 8: WGS data analysis for isolates: IMMense
Modular pipeline starting from bcl, fastq or fasta files
QC, pre-processing, genome assembly, assembly QC, taxonomy, resistance and virulence gene detection
NextFlow and Singularity for reproducibility and portability
Installation on IMM server for patient data security
Automatically triggered after each sequencing run
Constantly being extended
In this course we will be using components of this workflow
SPSP Swiss Pathogen Surveillance Platform
3/13/25
Microbial Bioinformatics Blockkurs

## Slide 9: Data QC
Raw reads
High quality reads
Trimming
Genome scaffolds
De novo assembly
Annotation
Read quality
Meta-genomic analysis
Remapping
Coverage, Variants
QC
ID
Genome size, N50

## Slide 10: Data QC
Annotated genome assembly
Annotation
rMLST
16S rRNA gene
Species identification
Typing
AMR genes
Virulence genes
Phenotype prediciton
Genomic context
Genome scaffolds

## Slide 11: Data integration
LIS
FAIR data (findable, accessible, interoperable and reusable)
LIMS system (DiData) as hub to integrate sample related data
  Fastq + QC
  Assemblies, annotation + QC (21000 assemblies)
  Patient data from LIS
  MALDI-TOF MS ID and spectra
  Anti-microbial resistance profiles e.g. MICs, SIR
  Epidemiological metadata e.g., geography
Structured data allows for data integration and machine learning
Phenotypic resistance vs genotype
Interpretation of Maldi profiles
Biomarkers for clinical phenotypes

## Slide 12: Data sharing
Swiss Pathogen Surveillance Platform
Started with MRSA
Heavily used for COVID-19 data sharing
All 5 university hospitals and many other labs connected
Surveillance beyond cantonal borders
http://spsp.ch

## Slide 13: Reporting to interdisciplanary teams
Gómez-López Brief Bioinf 2017
Carriço Clin Microbiol Infect 2018
Results reported to various stakeholders
Different levels of complexity
Clinician needs key message in 1-2 min
Statistician wants lots of details
Survey across labs and hospitals in Europe to define report granularity for each customer group

## Slide 14: Standardized report
Summary / Interpretation
Sample table
Phylogeny
Methods

## Slide 15: WGS in pathogen identification
New species Mycobacterium basiliense identified and characterised
  ANI to closest species ≈ 81% (<95%)
  Digital DDH to closest species ≈ 23% (<70%)
Case study: travel returner with fever
  Borrelia persica identified as pathogen by shotgun metagenomics on blood sample
  684 of 7.8M reads mapped to B. persica (database assembly AYOT)
Seth-Smith Front Microbiol 2019
Muigg /Seth-Smith Emerg Infect Dis 2020

## Slide 16: WGS in AMR prediction
PorinPredict software developed:
  Predicts OprD porin loss of function in Pseudomonas aeruginosa (meropenemR)
  Phenotype-genotype comparisons in 1,078 strains, 79 from USB
Novel blaEC promoter mutations found in AmpC phenotype E. coli
Biggel Microbiol Spectrum in press
Distribution of porin loss in 2088 genomes
Frameshifts / terminations / promoter mutations
Hinic J Antimicrob Chemother in review
Phenotypic impact of amino acid substitutions in Haemophilus influenzae pbp3
Reist BioRxiv 2019

## Slide 17: WGS to solve outbreaks: Legionella pneumophila
Legionella pneumophila infections from same urban district
Legionella pneumophila detected in cooling towers
Cooling towers (A and B) have diverse strains, but also share similar strains
Three 2017 outbreak isolates (X) identical to cooling tower B isolates
Clinical isolates from previous years are closely related to other cooling tower strains
Wüthrich D et al. Eurosurveill 2018

## Slide 18: WGS in outbreaks: Corynebacterium diphtheriae 2022
Increase in diphtheriae cases in refugee camps across Europe
Determination of MLST, clusters, toxin presence, ARG from the genome assembly
Visualised in Ridom Seqsphere+, superimposed on Minimum Spanning Tree

## Slide 19: NGS in routine diagnostics - summary
Used for identification, outbreak investigation, surveillance and resistance / virulence predition
Highest resolution for outbreak investigations and surveillance
Interdisciplinary team needed (BMAs, bioinformaticians, clinicans/specialists)
ISO accredited workflow
Proper communication of results is crucial
Rather expensive and slow diagnostic tool (work in progress)
Proper data storage needed to make most out of the data, e.g. with machine learning (FAIR principles)